## Station_Detail
Station Identification |  | Compulsion | Station Information | Description
| Local Code | Mandatory | AWS Yala BC
| Station Name and aliases | Mandatory | AWS Yala BC
| Latitude | Mandatory | 28.2323
| Longitude | Mandatory | 85.6097
| Elevation | Mandatory | 5090
| Active/Closed | Mandatory | Active
| Beginning/End Date | Mandatory | 5/8/2012 - 12/31/2019
| Type of Station | Mandatory | Meteorological
| Responsible Organization | Mandatory | ICIMOD
| Manual/Automatic | Mandatory | Automatic
| Time zone | Mandatory | NPT
| Watershed | Optional | Gandaki
| River | Optional | Trisuli
| Country | Mandatory | Nepal
| Networks | Optional
Local Environment
| Local land use/land cover | Optional | rock
| Instruments exposure | Optional
| Soil type | Optional
| Site condition | Optional
| Photographs | Optional
| Site plans | Optional
| Skyline diagrams | Optional
Station Instrumentation and Maintenance
| Type of instruments, Serial Numbers | Optional | multiple (see right) | Ott 2, Germany (Precipitation): Capacity: 750 mm Accuracy absolute amount: ± 0.05 mm Accuracy intensity: ± 0.1 mm/min or ± 6 mm/h Campbell Scientific SR50, UK (Snow Depth): Accuracy: ±1 cm (0.4 in.) or 0.4% of distance to target (whichever is greatest) Young 05103, USA (Wind Speed) Rotronic Hygroclip2, Switzerland (Temperature/RH; with radiation shield): Accuracy: ±0.8 %RH / ±0.2 K CNR4 Campbell Scientific, UK (Radiation)
| List of observed elements | Optional | BVOL,battery voltage,V TAIR,Mean air temperature,degrees Celsius RH,Mean air relative humidity,% PVOL,OTT pluvio 2 measured instantaneous precipitation,mm BCON,OTT pluvio 2 mean nrt content bucket,mm TCNR4,Mean CNR4 inside temperature,degrees Celsius KINC,Mean incoming shortwave radiation CNR4,W/m2 KUPW,Mean outgoing shortwave radiation CNR4,W/m2 LINC,Mean corrected incoming longwave radiation CNR4,W/m2 LUPW,Mean corrected outgoing longwave radiation CNR4,W/m2 TSOIL,Mean soil temperature,degrees Celsius LSD,Mean laser ground distance,m PRES,Mean atmospheric pressure,mbar WSPD,Mean wind speed,m/s WSPDmax, Max wind speed, m/s WINDDIR,Vectorial mean wind direction,degrees SR50,Best quality measurement per hour distance to the ground of the SR50A sensor,m
| Units used | Optional | see above
| Observation instructions | Optional
| Changes in instrumentation or site | Optional
| Routine maintenance operations | Optional
| Disposable items replacement | Optional
| Corrections made by observer | Optional
Observing Practices
| Observer information | Optional | see above
| Observer level of training | Optional
| List of observed elements | Optional
| Observing times | Optional | 15 min aggregated to 60 min
| Units used | Optional
| Observation instructions | Optional
| Routine maintenance operations | Optional
| Disposable items replacement | Optional
| Corrections made by observer | Optional
Data Processing
| Units | Optional | See above | Data available from 2012 to 2019. Station working on RTS datalogger until station was destroyed on 25th April 2015 by the Gorkha earthquake. Precipitation data (PVOL and BCON) is unreliable from 2014-09-30 until 2014-10-19; 2018-09-13 until 2018-10-09; 2019-09-25 until 2019-10-24. SR50 data available from 2015-10-28 onward WSPDmax data available from 2018-07-15 onward LSD data available until 2015-05-31 TSOIL data available until 2014-12-07 AWS until May 2015 Instruments: Rotronic Hydroclip HC2 Temperature and Humidity Sensor with Radiation Shield #60834203 (May 2012 - May 2015) Young Wind Monitor 05103L-45 Anemometer #115882 (May 2012 - May 2015) CNR4 net radiometer #110714 (May 2012 - May 2015) Vaisala PTB330 Digital Barometer #G4930009 OTT Pluvio Precipitation Gauge #293814 (October 2012 - October 2016) Jenoptik SHM30 Snow Depth Sensor # 112915 (May 2012 - May 2015) sensor heights not recorded - instruments fixed at around 2 m (Shea et al. 2015) Replaced on 2015-27-10 at 16:00 with a Campbell CR1000 data logger and new equipment Instruments: Kipp and Zonen CNR4 #?, mounted at 2.37m on 2016-10-27, sensor moved on 2018-11-28 to Yala Glacier station, no data from this date. The neighbouring Gamma Ray station's Cnr4 data might be used as a replacement. Young anemometer 05103 #?, mounted at 2.50m on 2016-10-27 Thermometer/Hygrometer HC2S3 #?, mounted at 1.75m on 2016-10-27 Sounding Height Ranger SR50A #?, mounted at 2.15m on 2016-10-27 Pressure sensor CS106 #?, mounted in box close to the datalogger on 2016-10-27 OTT Pluvio Precipitation Gauge #293814 Relative humidity sensor gives wrong values (saturated?) between January 2016 and October 2016. pluvio mast fell down, provoking stop of the PLUVIO, on 2016-10-16. Re-installed, relaunched on April 2017. !DATA PROCESSING (Campbell CR1000 October 2015 until October 2016) Raw data was summarized for every hour, either taking the mean, max or sum of 10 minute time series. e.g. for 16h, the sum, the mean or the max-min of the measurements that were previously stored at 15:10, 15:20, 15:30, 15:40, 15:50 and 16:00 were taken. Prior to summarizing the data, the following quality checks were performed: - shortwave radiation values larger than 2000 were replaced with NAs. - negative radiation values were replaced with 0s. - negative wind speed and winddirection values were replaced with NAs. - 0 values of RH were replaced with NAs and values larger than 100 with 100. - 0 values of pluvio bucket content time series were replaced with NAs. - 0 values of SR50 ground distance were replaced by NAs. the wind direction was calculated from the wind vectors u and v (southerlies and westerlies): u =-wind_speed*sin(wind_dir*pi/180) v =-wind_speed*cos(wind_dir*pi/180) meanu = hourly mean (u) meanv = hourly mean (v) if meanu >0, then windvec = (90-180/pi*atan(meanv/meanu)+180) if meanu <0, then windvec = (90-180/pi*atan(meanv/meanu)) it informs on where does the wind come from. SR50 snow depth processing: - ground distance values larger than the max possible distance to the ground (2.15m at Yala BC) were replaced by NAs. - quality values of 0 were replaced by NAs. - the measured ground distance with the best quality indicator was chosen for every hour and it had to be below 230 (or it was replaced by NAs)
| Special codes | Optional
| Calculations | Optional
| Algorithms | Optional
| QC applied? (yes/no) | Optional | yes
| Other details on QC | Optional | see right
| Homogenization applied? (yes/no) | Optional | no
| Other details on homogenization | Optional | no data value NA
| Data recovery effort? (yes/no) | Optional
| Other details on data recovery | Optional
| Treatment of redundant data | Optional